### CEE  DD-048C

Function  and  performance

●Convert DMX signal from controller to DC 0-10V analog signal.

●Standard DMX512 input, address code settable.

●48 channels 0-10 volts analogue controlling signal output.

●Power supply: AC100V-240V / 50-60Hz